# High-Level Design (HLD)

Version: 1.0

Date: 17-12-2025

Prepared by: Trenser Technology Solutions

## 1. Purpose

The document provides a high-level design overview for a temperature monitoring system.

## 2. System Overview

The system continuously monitors the temperature and activates an alarm if the measured temperature exceeds a predefined threshold level.

## 3. Software Architecture

The system implementation includes two major modules. The module to read temperature with a polling frequency (p) of p seconds and another module to compare the measured temperature with the threshold level (t) and to activate an alarm if the measured temperature exceeds the threshold.

## 4. Module Descriptions

- Temperature reading module : The module will read the temperature in every p seconds. The expected temperature output is with the range of 0 (Rmin) to 100 (Rmax).

- Alarm activating module : The module will compare the measured temperature which will be the output of Temperature reading module and then compares it with the threshold level (t). And then activate an alarm for n (alarm on time) seconds if the measured temperature exceeds the threshold.

## 5. Interface Design

The system implementation includes two processes. The process to read temperature with a polling frequency (p) of p seconds and another process to compare the measured temperature with the threshold level (t) and to activate an alarm if the measured temperature exceeds the threshold.

## 6. Data Flow

The temperature reading is measured continuously with a polling frequency (p) of p seconds. If the temperature exceeds the threshold level (t) then an alarm will be turned on for a duration of n seconds.

## 7. Error Handling & Fault Management

The measured temperature range is expected to within a range of Rmin to Rmax. In which Rmin is assumed to be 0 and Rmax as 100. The alarm must be activated if and only if the measured temperature exceeds the threshold level. The temperature threshold level (t) assumed as 60.

## 8. Traceability

- Verify that the temperature read function always returns a value between the range from Rmin to Rmax. Test the system for temperature below the threshold level and ensure that the alarm is not triggered.

- Test the system for temperature equal to the threshold level and ensure that the alarm is not triggered.

- Test the system for temperature above the threshold level and ensure that the alarm is triggered for n seconds.

- Test the system for temperature below the threshold level and ensure that the alarm is deactivated.