# Low-Level Design (LLD)

Version: 1.0

Date: 17-12-2025

Prepared by: Trenser Technology Solutions

## 1. Purpose

The document provides a low-level design overview for a temperature monitoring system.

## 2. Functional Decomposition

- Functionality to read the temperature with a polling frequency of p seconds with unsigned integer value of within the range of Rmin to Rmax.

The measured temperature is stored in a shared memory and used across the functions to activate alarm as well.

The measured temperature which is in shared memory will be locked by mutex implementation to ensure that the shared data is properly secured.

- Functionality to activate the alarm. It will compare the measured temperature with the threshold temperature and if the measured temperature is above the threshold temperature the alarm will be activated for n seconds. If not, no action will be taken.

## 3. Detailed Function Descriptions

- Function to read the temperature : The function will read the temperature in every p second and return the measured temperature which will be in the range of Rmin to Rmax.

- Function to activate the alarm : It will compare the measured temperature with the threshold temperature and if the measured temperature is above the threshold temperature the alarm will be activated for n seconds. If not, no action will be taken.

## 4. Data Structures

- Variable to store the measured temperature.

- Variable to mention the temperature threshold level.

- Variable to mention the alarm on time in case of alarm activation.

## 5. Error Handling

Verify that the temperature read function always returns a value between the range from Rmin to Rmax.

## 6. Timing and Performance

- p : Polling frequency, the frequency at which temperature is measured.

- t  : Temperature threshold level, if the measured temperature is above this value alarm will be activated.

- n : Alarm on time, if the measured temperature is above temperature threshold level alarm will be activated for w seconds.

- Rmin : The minimum temperature the sensor can detect.

- Rmax: The maximum temperature the sensor can detect.

## 7. Test Points

- Verify that the temperature read function always returns a value between the range from Rmin to Rmax. Test the system for temperature below the threshold level and ensure that the alarm is not triggered.

- Test the system for temperature equal to the threshold level and ensure that the alarm is not triggered.

- Test the system for temperature above the threshold level and ensure that the alarm is triggered for n seconds.

- Test the system for temperature below the threshold level and ensure that the alarm is deactivated.

## 8. Traceability

- The system is supposed to read the temperature in every p second.

- The alarm must be activated for n seconds if the measured temperature at any given point of time is above the threshold temperature level.

- The alarm must be turned off after n second once it is turned on.

- The alarm will turn on if and only if the measured temperature is above the threshold temperature level.